## Sheet1
No. | Name | Failure Rate | Distribution | Reference
1 | Oxygen Cylinder | 0.001 (analog to pressure vessels/coils) | Exponential | MIL-HDBK-217F Sec. 12.2; NASA reports
2 | Pressure Transducer/Gauge | 0.0055 (analog to photo-transistors/sensors) | Exponential | MIL-HDBK-217F Sec. 6.11
3 | Manual Isolation Valve | 0.0059 (analog to mechanical relays) | Exponential | MIL-HDBK-217F Sec. 13.1
4 | Storage Regulator | 0.0022 (analog to thyristors/regulators) | Exponential | MIL-HDBK-217F Sec. 6.10
5 | Supply Lines/Manifold | 0.00005 (analog to crimp connections) | Exponential | MIL-HDBK-217F Sec. 17.1
6 | Face Masks | 0.10 (analog to fiber optic connectors) | Exponential | MIL-HDBK-217F Sec. 23.1
7 | human errors(using face mask) | 0.01 | Exponential | Estimating human error rates in the aerospace industry
8 | storage box assembly | 1e-05 | Exponential | https://www.faa.gov/regulations_policies/orders_notices/index.cfm/go/document.information/documentID/1021298
9 | toxic gas sensor | 1e-06 | Exponential | toxic gas sensor
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27